Instructions for Labthink Products

Dear Labthink Customer:

Thank you for your recent purchase. Labthink is dedicated to providing you with the most technologically advanced testing products and the highest level of service and support that you expect.

To better assist you with any questions or concerns that you may have with regards to warranty and service coverage on your Labthink products, we have provided you with the attached Support Service & Warranty Overview. This overview provides you with important information including instructions for initial use, service scope, warranty/post-warranty, demand service and contact information. Labthink is committed to helping you keep your product operating at its peak performance level.

Labthink offers a complete series of testing products for flexible packaging quality control as well as prompt, professional and complete after-sales service support for your testing needs. We encourage you to visit our website at www.labthink.com to check for the updates about our products and services. If you wish to speak directly with a Labthink sales representative or a member of our technical support team, please call us at +86-531 58702798 or email to afterservice@labthink.com. We will provide you with exceptional services and support.

Sincerely,

Labthink Group

- Labthink Support & Services

  - Labthink Has a Complete Service Support System

Labthink has a complete service support system. The Global Technical Support & Customer Service Center provides customers with professional, prompt and sustained pre-sales, sales and after-sales services including remote service, visualization service, field service and bench repair service. Labthink is committed to providing customers with professional customized solutions to meet each customer’s specific needs.

1.2 Service Orientation

From the moment we receive your initial request, Labthink is focused on providing its customers with professional, timely and continuous support services. We will help you to identify your needs and provide you with solutions that are best suited to you. Our goal is not only to meet your expectations - but to exceed them.

  - Service Philosophy

Our service philosophy is to provide our customers with the highest quality products and the highest level of service. We are committed to serving our customers at the utmost level. We want to be caring and sensitive to your needs and always to provide you with timely response and exceptional service.

  - Our Promise & Commitment

Service does not end once the sales are complete – it begins! No matter how big or small your purchase may be, Labthink is committed to providing customers with continuous support services for all products.

- Instructions for Initial Use

2.1 Initial Product Inspection & Acceptance

When taking the product and accessories out of the package, please pay close attention to the caution note and handle accordingly. After unpacking the product, check the required configuration according to the packing list. Make sure that all parts listed on the packing slip are included. If any discrepancy occurs, please immediately contact Labthink Global Technical Support & Customer Service Center. If no communication is received within seven (7) days from the date the package was signed and received, it will be considered that no discrepancies have been noted and that the user has fully accepted the product’s configuration.

  - Initial Product Set-up

Please watch the operational video, read the operator’s manual and other product materials that have been included with the instrument carefully. Perform installation and debugging under specified conditions, power supply, gas supply, parameters and operating mode, etc. If you have any questions, please feel free to contact Labthink Global Technical Support & Customer Service Center for confirmation prior to debugging.

2.3 Routine Operation

Before using the product, please confirm if the laboratory conditions, test conditions, power supply,   gas supply and parameters meet usage and testing requirements. In the event you experience problems, please refer to the operator’s manual, log on to our website at www.labthink.com to search related materials or contact Labthink Global Technical Support & Customer Service Center. In order to accurately and expeditiously process your request, we kindly ask you to make the following preparations before contacting us:

- Check the instrument model on the instrument label or in the operator’s manual and

certificate of quality.

- Read the operator’s manual carefully and thoroughly. Be sure to have the manual readily

available at the time of contact.

- Collect information about problems, such as characters displayed, running status, time of

failure, and other details. We request to be provided with as much information as possible in order that we could provide assistance. Failure to fully disclose pertinent information about the condition of the instrument to Labthink may result in the delay or inability to resolve the problems.

- Service Scope

  - Services Provided within Warranty Period:

3.1.1 Remote Support Services

Remote support services are free of charge.

The technical support & service technicians in Labthink can provide customers with technical consultation, product application and operation instructions, malfunction analysis and elimination, spare parts replacement and consumable items, software upgrade and customization, product operation and application documents and web-based self-service, etc. in the form of written materials, pictures and diagrams through telephone, fax, email, and online instant communication tools.

The technical support & service technicians in Labthink can provide customers with online operation and application training, online malfunction analysis and elimination, and online video conference through various instant communication tools. Labthink has a professional video conference system that can assist with the visualization service and support simultaneously for multiple users.

3.1.2 Door-to-door Service

3.1.2.1 Installation Service

For the products and orders which are not eligible for field service in Classifications of Service Mode for Labthink Products, Labthink service team accepts installation, debugging, training and acceptance service requests within 60 days from the AWB date. Labthink is responsible for labor rates，travel expenses and visa fee incurred for service. However, customer shall undertake the local travel expenses incurred for service.

For the products which are eligible for remote service but with invoice value less than US$20000 in Classifications of Service Mode for Labthink Products, Labthink service team accepts installation, debugging, training and acceptance service requests. All the costs incurred for service shall be at customer’s expense, including but not limited to, round-trip tickets, labor rates and visa fees, etc.

3.1.2.2 Product training and calibration service within warranty period

Labthink service team can visit your workplace for on-site application training and calibration of testing instrument. All the costs incurred for service shall be at customer’s expense, including but not limited to, round-trip tickets, labor rates and visa fees, etc.

3.1.2.3 Product repairing service within warranty period

Labthink service team can visit your workplace for on-site malfunction check, maintenance, testing and calibration of testing instrument. If the malfunction is caused by the defects in material and workmanship, labor and materials are provided at no charge. However, local travel expenses incurred for service shall be chargeable to customer. If the malfunction is not caused by the defects in material and workmanship, customer is responsible for round-trip tickets, labor, visa and material, etc.

3.1.3 Return Product to Labthink for Repair

If customer wishes to return the instrument to Labthink Headquarters for repair, within the warranty period, for the malfunction caused by the defects in material and workmanship, the repairing and materials are provided at no charge and the customer will be responsible for preparing the instrument for shipping and for expenses including but not limited to, shipping/freight charges (both to and from Labthink), insurance and any duties. For the malfunction not caused by the defects in material and workmanship, the customer will be responsible for preparing the instrument for shipping and for expenses including but not limited to, materials, labor rates, shipping/freight charges (both to and from Labthink), insurance and any duties.

Labthink’s highly trained service technicians are able to perform all-round troubleshooting,       repairing, maintenance, testing and calibration of the returned instrument.

3.2 Services Outside of Warranty Period (Post-Warranty)

    - Remote Services

Customer is responsible for material fees and labor rates incurred for service. However, labor rates are free of charge for services incurred within three (3) years from the date of shipment of the instrument.

3.2.2 Door-to-door Service

Customer is responsible for all materials, labor and travel expenses incurred.

3.2.3 Return Product to Labthink for Repair

If customer wishes to return the instrument to Labthink Headquarters for repair after the warranty period, customer is responsible for preparing the instrument for shipping and will also be responsible for expenses including but not limited to, shipping/freight charges (both to and from Labthink), insurance and any duties. Customer is also responsible for all materials and labor rates.

- Warranty Statement

4.1 General Overview

Labthink provides customers with innovative high-performance testing products. In the meantime, we provide products and services with extensive warranty options. Labthink also offers a wide variety of extended warranty options for instruments and parts specifically designed to meet individual customer’s requirements.

4.2 Standard Warranty—Instruments

Labthink warrants its instruments to be free of defects in material and workmanship for 12 months from the date of shipment, providing the instrument is installed and maintained properly and is used under normal operating conditions. Labthink will provide free of charge repairing and spare parts replacement services for defective instruments or components. Warranty covers normal use only and does not cover damage that results from alteration, accident, misuse, abuse, neglect or failure to follow assembly, installation, operational or other instructions from Labthink. After the original instrument warranty period, bench repairs are warranted for 90 days, F.O.B. Labthink factory.

  - Standard Warranty—Repaired/Replacement Parts

Standard Warranty for spare, repaired or replacement parts and accessory items, when purchased separately and not part of the original instrument order, is 90 days effective from the date of shipment of said part. Within the warranty period, Labthink will provide free repair parts/replacement services if the same quality problem appears on the repaired/replaced parts again.

  - Standard Warranty—Software

There’s no warranty for the software no matter it is purchased separately or supplied with instrument order.

  - Extended Warranty – Instruments

Customer has the option to purchase an extended warranty if the standard warranty does not meet customer standards. Please contact Labthink service team for additional information.

  - Warranty Exclusions

Labthink reserves the right to exclude any instrument and part from warranty coverage for any of the following circumstances.

- Defects or damages to wearing parts or consumable parts, such as lamps, filter paper and glass plates, etc.

- Defects to instrument or other components caused by the use of accessories or peripheral equipment not produced or authorized by Labthink.

- Defects or damages to instrument or other components resulting from abnormal reasons, including but not limited to, unsuitable power supply, gas supply, operation environment, irresistible force and foreign matters entering instrument or its part.

- Defects or damages to instrument or other components caused by natural catastrophes (such as earthquake or fire) or other events including, but not limited to, accidents, theft, vandalism or loss.

- Defects or damages to instrument or other components caused by dismantling, repair, and   reconfiguration without the permission of Labthink.

- Defects or damages to instrument or its components caused by unplugging or plugging power cord, printing cable, communication cable or other wires with power introduced.

- Defects or damages to instrument caused by the operation due not to follow the installation and operation manner prescribed by Labthink.

Please contact a member of Global Technical Support & Customer Service Center in Labthink for complete details on the eligibility of instrument and part.

- Standard Service Expenses

5.1 On-site Service

When a service technician is required for door-to-door service, customer is responsible for all applicable travel expenses. Please contact a member of Global Technical Support & Customer Service Center in Labthink for details.

5.2 Return Product to Labthink

Customer is responsible for all related expenses for returning the instrument. This includes, but is not limited to, freight charge, insurance and duties, etc. Please contact a member of service team in Labthink for details.

  - Extended Warranty

Extended Warranty options are available to customers who desire coverage beyond the standard warranty period. Please contact a member of service team in Labthink for details.

5.4 Spare Parts Catalog and Price List

Please contact Labthink service team to request a spare parts catalog or price list.

- Labthink International Service Team

You can contact a member Labthink service team using the following options:

Labthink Global Technical Support & Customer Service Center

China (Domestic, excludes Taiwan）

Address: No. 144 Wuyingshan Road, Jinan, China

Phone: (+86) 531-8581 7247

Fax: (+86) 531-5870 2781

Email: service@labthink.com

Website: www.labthink.com

China (International, excludes China mainland and North America)

Address: No. 144 Wuyingshan Road, Jinan, China

Phone: (+86) 531-5870 2798 / 5870 2776

Fax: (+86) 531-5870 2781

Email: afterservice@labthink.com

Skype: labthinkservice

Website: www.labthink.com

USA regional office (North America)

Address: 200 River’s Edge Drive, Medford, MA 02155, USA

Phone: (+1) 617-830-2190

Fax: (+1) 781-219-3638

Email: service@labthinkinternational.com

Website: www.labthinkinternational.com

Labthink headquarters and global service teams provide customers with quality support and service. For details of your local service team, please contact Labthink international in China headquarters.

- Others

Labthink reserves the rights for final explanation and revision.